## Slide 1: Progress Report
Tommy XIN
John WU
Felix FAN

## Slide 2: Detection Progress
Can Add More Sensors e.g. Temperature
Need to be Confirmed by More Research

## Slide 3: Detection Progress
Sensors | Detection range | Resolution | Accuracy (25℃)
PH-4502C (pH) | 0-14 pH | 0.01 pH | ±0.1 pH
TSW-20M (Turbidity) | 0-4550 NTU (0%-3.5%) | 4.5 NTU | 
TDS Meter V1..0 (TDS) | 0-1000 ppm | 1 ppm | ±10% FS
EC sensor (EC) | 0-1000 ppm | 1 ppm | ±10% FS
SEN0237 (DO) | 0~20 mg/L | 0.02 mg/L | 
SEN0165 (ORP) | -2000 mV-2000 mV | 2 mV | ±10 mV

## Slide 4
Future Plan
Deploy multiple systems
Build system
Data segmentation
Training
Test
Model Training
Feature extraction
Data Collecting
Test single system
Sensors
pH, TDS, Turbidity, EC, DO, and Oxidation-Reduction Potential
Prediction Tasks
Predict the value of certain index (e.g. coliform)
Classify whether the water is potable

## Slide 5: Problems
Lack of dataset
Predict one water pollution index via ML
Dataset (certain index) is required
Over budget
DO and ORP probes are expensive
Equipment placement
Component Name | Price (￡)
TDS sensor | 10.39
Turbidity sensor | 14.19
Conductivity sensor | 8.07
pH sensor | 14.84
DO module | 96.41
ORP module | 66.51
Total | 210.41